LABKITPRO   |   ISO/IEC 17025:2017 toolkit   |   Compliance Review

ISO/IEC 17025:2017 Compliance Review

FR-25 internal-audit checklist · generic gap analysis · not tailored to any document

DEMO SAMPLE — what this file is
A generic sample showing the structure and depth of a LabKitPro Compliance Review. The paid full version is built from your own self-assessment ratings plus your country / body / industry context, and adds the corrective-action guidance and linked remediation documents.

1  Purpose

Clause-by-clause self-assessment against the FR-25 internal-audit checklist (119 items) of ISO/IEC 17025:2017, producing a conformity rate per clause section, the weakest clause, and a gap and corrective-action list mapped to the laboratory’s own documents. A screen of an uploaded document reports only which audit points the document mentions — it is a coverage screen, not a compliance judgement.

2  Readiness summary (sample)

| Area | Items | Compliant | Readiness | Weakest point |
| --- | --- | --- | --- | --- |
| §4 General | 8 | 7 | 88% | Impartiality commitment re-dating |
| §5 Structural | 6 | 5 | 83% | Responsibility matrix completeness |
| §6 Resource | 24 | 15 | 63% | Competence monitoring |
| §7 Process | 49 | 30 | 61% | Method validation evidence |
| §8 Management | 32 | 22 | 69% | Internal-audit trail |

3  Sample gap and corrective-action list

| Clause | Finding (sample) | Required evidence | Corrective-action hint |
| --- | --- | --- | --- |
| §6.2 | Personnel competence records incomplete for two analysts | Training and authorisation log | Complete records; re-authorise on the record |
| §7.2 | Method validation evidence thin for two scope methods | Validation report per method | Validate against the scope; keep the raw data |
| §7.7 | QC / proficiency-testing coverage partial | Control charts and PT records | Define the monitoring plan; act on trends |
| §7.5 | Uncertainty budgets exist but are not maintained | Current budget per scope | Refresh budgets; record reviewers |
| §8.3 | Internal-audit trail sparse | Audit plan and findings log | Plan, run and log an audit; verify closure |
| §8.9 | Management review inputs not fully recorded | Management review record | Use a structured input/output record |

4  How a correction is closed (sample workflow)

Record the finding against the clause and the evidence inspected.

Contain the immediate effect (correction) and record it.

Determine the root cause — why the requirement was not met.

Define and implement the corrective action, with an owner and a due date.

Verify effectiveness at a defined interval, and close the record only then.

5  What the full deliverable adds

Your overall readiness rate — and the weakest clause, computed from your own ratings.

Body-specific focus — review points for YOUR body (A2LA / UKAS / NABL / …).

Industry focus woven in — so findings reflect your testing or calibration field.

Linked remediation templates — from the ISO/IEC 17025 knowledge base.

Exportable, watermark-free Word (.docx) — ready for your quality file.

This is a generic demonstration sample produced by LabKitPro. It shows structure, wording and evidence logic only — none of your personalization inputs (country, accreditation body, industry, stage, uploaded documents) are applied. The full, tailored and watermark-free deliverable is generated from your context at labkitpro.com.